SPEC NOTE DESCRIPTION: This Section specifies PINK NEXT GEN® FIBERGLAS® Blanket Insulation used to provide thermal insulation to exterior walls, attics (or roof-spaces), cathedral ceilings, floors overhanging exterior spaces or above unheated crawl spaces and other parts of buildings separating heated spaces from unheated (or refrigerated) spaces.

SPEC NOTE: For additional information concerning this product, refer to Product Data Sheet 07 21 16 OCC PINK NEXT GEN® FIBERGLAS® or contact your regional technical support representative or consult the Owens Corning Canada web site at the following address:www.owenscorning.ca.

SPEC NOTE ENVIRONMENT: This Section specifies recycling and reuse options, and generally available disposal options. The inclusion of recycled content provides efficient use of natural resources and diverts materials from the waste system. Increased RSI (R)-value insulation levels will provide improved energy efficiency. Improved energy efficiency reduces the use of non renewable energy sources and provides a lessened contribution to global warming.

SPEC NOTE: The glass fibres that compose the bulk of Owens Corning® PINK NEXT GEN® FIBERGLAS® Blanket Thermal Insulation are produced from used recycled glass containers and flat glass products. These recycled wastes originate from two sources:

“Post-consumer” waste from construction sites and consumer “blue boxes” that have been separated and reintroduced into the manufacturing process.

“Post-industrial” waste from manufacturers.

# General

## SECTION INCLUDES

SPEC NOTE: Select one or more locations to be insulated; suppress or add as required.

### Glass fibre blanket thermal insulation installed at the following building locations:

#### Above ground [steel stud framed] [wood stud framed] exterior walls.

#### Interior side of below ground foundation walls, with [steel (Z bars) (furring)] [wood furring].

#### Floors above unheated [exterior spaces] [and] [crawl spaces].

#### Ventilated roof spaces (or attics) above flat or sloped ceilings.

#### [Steel stud framed] [Wood stud framed] roof parapets and curbs.

#### Cathedral ceilings.

#### [Steel stud framed] [Wood stud framed] interior partitions separating heated spaces from [unheated] [refrigerated] spaces.

## RELATED SECTIONS

SPEC NOTE: Select the appropriate Section or Sections directly pertaining to the following associated items.

### Section [07 21 13.13 – Polystyrene Board Thermal Insulation]

### Section [07 21 16 – Blanket Insulation]

### Section [07 26 00 – Vapour Retarders]

### Section [07 22 16 – Roof Board Insulation]

### Section [07 27 23 – Board Product Air Barriers]

### Section [09 81 16 – Acoustic Blanket Insulation]

## REFERENCES

SPEC NOTE: Edit list to suit standards specified in project specification.

### ’American Society for Testing and Materials International, (ASTM):

#### ASTM C518:2021, Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

#### ASTM C553:2013(2019), Specification for Mineral (Glass) Fiber Blanket Thermal Insulation for Commercial and Industrial Applications

#### ASTM C1320:2020, Standard Practice for Installation of Mineral Fiber Batt and Blanket Thermal Insulation for Light Frame Construction

#### ASTM C1338:2019, Standard Test Method for Determining Fungi Resistance of Insulation materials and Facings

#### ASTM C1617-24 - Standard Test Method for Quantitative Accelerated Laboratory Evaluation of Extraction Solutions Containing Ions Leached from Thermal Insulation on Aqueous Corrosion of Carbon Steel.

### Canadian Standards Association (CSA / CSA International):

#### CSA B111:1974(R2003), Wire Nails, Spikes and Staples

#### CSA B149.1:2020, Natural Gas and Propane Installation Code

#### CSA B149.2:2020, Propane Storage and Handling Code

### Underwriters’ Laboratories of Canada (ULC):

#### CAN/ULC-S102:2018-REV1, Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies

#### CAN/ULC-S102.2:2018-REV1, Standard Method of Test for Surface Burning Characteristics of Flooring, Floor Coverings and Miscellaneous Materials and Assemblies

#### CAN/ULC-S114:2018, Standard Method of Test for Determination of Non-Combustibility in Building Materials

#### CAN/ULC S129:2015, Standard Method of Test For Smoulder Resistance of Insulation (Basket Method)

#### CAN/ULC-S604:2022, Standard for Factory-Built Type A Chimneys

#### CAN/ULC-S702.1:2021, Standard for Mineral Fibre Thermal Insulation for Buildings, Part 1: Material Specification.

## SUBMITTALS

Submit product data in accordance with Section [01 33 00 – Submittal Procedures] [01 35 63 – Sustainability Certification Project Requirements].The CCMC listing is a means to verify code compliance acceptability for federal projects and is administered by the National Research Council (NRC) of Canada / Institute for Research in Construction (IRC) – Canadian Construction Materials Centre (CCMC). The Owens Corning blanket insulation is CCMC Product Listing Number 05650-L.

### Submit proof of manufacturer’s CCMC Listing and Listing number to [Engineer] [Consultant].

### Submit environmental certificates issued by the independent agencies listed under QUALITY ASSURANCE and the evaluation of the contribution of the product[s] towards obtaining LEED® Canada NC and CS credits.

Visit www.owenscorning.ca for a current copy of the Safety Data Sheet (SDS/MSDS) for Low Density Fiber Glass Insulation – unfaced.

### Submit WHMIS SDS – Safety Data Sheets in accordance with Section [01 35 63 – Sustainability Certification Project Requirements ]. Indicate VOC content.

### Submit product specific certified Type 3 UL Environmental Product Declaration (EPD).

### Samples: Submit one [two] sample[s] in accordance with Section [01 33 00 – Submittal Procedures].

## QUALITY ASSURANCE

### Identification: Clearly label each bag of insulation with the information listed in manufacturer’s applicable Product Data Sheet.

### Provide Products listed in:

#### Underwriters Laboratories of Canada (ULC): List of Equipment and Materials, Building Materials,

#### Underwriters Laboratories of Canada (ULC) : List of Equipment and Materials Fire Resistance.

#### Underwriters Laboratories Inc. (ULI) : Fire Resistance, Volume 1,

SPEC NOTE: Owens Corning Quietzone insulation has been assessed and listed in CCMC 05650-L, Type 1.

#### Canadian Construction Materials Centre (CCMC).

### Environmental certification by an independent agency:

#### Environmental Product Declaration (EPD): Third-party verified documentation with the supporting Product Category Rule (PCR) and Life cycle assessment information. Prepared in accordance with ISO 14044 and ISO 14071 and have at least a cradle-to-gate scope.

##### Product-specific Type III EPD -- Products with third-party certification (Type III), including external verification in which the manufacturer is explicitly recognized as the participant by the program operator, identifying the following impact categories (minimum):

###### Global Warming Potential (GWP): Submit GWP information in the form of kgCO2e.

###### Ozone Depletion Potential (ODP): Submit ODP information in the form of kgCFC-11e.

###### Acidification Potential (AP): Submit AP information in the form of kgSO2e.

###### Eutrophication Potential (EP): Submit EP information in the form of kgN eq. or kg PO4e.

###### Photochemical Ozone Creation/Smog Formation Potential (SFP): Submit SFP information in the form of kg NOx or kg O3 eq.

###### Abiotic depletion potential – Fossil resources (ADPf): All ADPf information submitted in the form of MJ.

#### Submit the “GREENGUARD GOLD Products Certified” certificate issued by Underwriters Laboratories certifying that the prescribed glass fibre blanket thermal insulation meets low emission requirements of VOC contained in the tested product; web site: https://www.owenscorning.com/en-ca/corporate/sustainability/product-sustainability/product-transparency-standards

SPEC NOTE: SCS (Scientific Certification Systems) is an independent third-party certification agency; originally, its role was to test for pesticide residues in fresh produce. The Environmental Claims Certification program was initiated by the SCS; this program’s objective is to measure the recycled materials content in manufactured products. When a submitted product meets the various procedures imposed by the program, the SCS issues a “Certificate of Achievement” for a limited duration. This certificate permits designers to confidently choose a manufactured product –  in this case Owens Corning™ PINK NEXT GEN™ FIBERGLAS® Thermal Insulation –  to add to accumulative credits in order to obtain the desired LEED Canada certification.

#### Submit the certificate issued by the Scientific Certification Systems (SCS) certifying that the prescribed glass fibre blanket thermal insulation meets the minimum claimed recycled materials content: https://www.owenscorning.com/en-ca/corporate/sustainability/product-sustainability/product-transparency-standards.

#### Include certificate number, duration of the certification and all restrictions issued by the certification agency for the product, as applicable.

SPEC NOTE: For quite a few years now the Canada Green Building Council (CaGBC) has promoted the application of the LEED Green Building Rating System (LEED Canada NC and CS) in Canada. LEED is the acronym of Leadership in Energy and Environmental Design.

SPEC NOTE: As a design guideline and a third-party certification tool, LEED aims to improve occupant comfort, environmental performance and economical efficiency of buildings by the use of proven and innovative procedures, standards and technologies. It furnishes a definition generally recognized in the industry of what constitutes a “green building”. The LEED  Green Building Rating System comprises a set of explicit performance criteria organized into seven (7) principal categories: Sustainable Sites, Water Efficiency, Energy and Atmosphere, Materials and Resources, Indoor Environmental Quality. Innovation in Design,  Regional Priority.

For each performance criteria, the LEED Rating System states the fundamental objective and the necessary documentation to be submitted to meet each compulsory condition and to obtain each voluntary “credit”. Projects are awarded one or more points for their certification by meeting or exceeding each credit’s technical requirements. All compulsory conditions must be met before the project may be admissible to the certification. The points are then accumulated into a final total corresponding to one of the possible LEED certification levels: CERTIFIED, SILVER, GOLD or PLATINUM.

### Contribution of the glass fibre blanket thermal insulation to the LEED certification of the building Project:

#### Categories and performance criteria to obtain credits, as established by the Canadian Green Building Council Rating System LEED® CANADA NC and CS:

##### Energy and Atmosphere (EA) - Optimize Energy Performance: Possible 18 points. A well design building envelope can grant points based on the level of percentage improvement in Energy Cost Metric (1-9 points NC and CS, 1-8 points Schools, 1-10 points Healthcare)  .

##### Indoor Environmental Quality (IAQ) – Low-Emitting Materials: Possible 3 points if used in combination with other certified low-emitting materials - source: https://www.usgbc.org/credits

##### Materials and Resources (MR) - Environmental Product Declarations : Possible 2 points. It’s granted 1 point when a Product-specific Type III EPD is available, and it’s granted 1 point when there’s an Embodied Carbon/LCA Optimization available.

##### Materials and Resources (MR) - Sourcing of Raw Materials:  Up to 1 point id used in combination with 2 other approved manufacturers.

### Sustainability Standards Certifications:

SPEC NOTE: Include the following paragraphs to list the product’s environmental qualities that are certified by third-party independent agencies. Owens Corning Canada product certificates from SCS Global Services (various forms and sizes) can be found at https://www.owenscorning.com/en-ca/corporate/sustainability/product-sustainability/product-transparency-standards.

#### Provide third party certificates attesting to compliance with recycled content requirements as specified in the manufacturer's documentation, which is available at https://www.owenscorning.com/en-ca/corporate/sustainability/product-sustainability/product-transparency-standards

For up-to-date GREENGUARD Indoor Air Quality Certified Certification of Owens Corning® PINK NEXT GEN™ FIBERGLAS® blanket thermal insulation, go to https://www.owenscorning.com/en-ca/corporate/sustainability/product-sustainability/product-transparency-standards

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle glass fibre blanket thermal insulation in accordance with manufacturer’s printed instructions.

### Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling, storage, and disposal of insulation materials.

### Store materials in their original packaging in a dry interior location, away from UV sources.

### Protect materials from the weather and store at a temperature and a relative humidity recommended by the manufacturer.

### Separate waste materials for [reuse] [and] [recycling] in accordance with Section [01 74 19 –  Construction Waste Management and Disposal].

### Collect and separate [paper] [plastic] [polystyrene] [corrugated cardboard] packaging material [for disposal in appropriate on-site bins] [for recycling in accordance with Waste Management Plan].

## AMBIENT CONDITIONS

### Apply insulation only when the ambient climatic conditions (risk of rainfall, high humidity levels) and the temperature of surfaces to be insulated are within manufacturer recommended limits to prevent risk of condensation.

# Products

SPEC NOTE: PINK NEXT GEN™ FIBERGLAS® Blanket Thermal Insulation meeting the requirements of CAN/ULC-S702.1. For acoustic purposes, refer to Owens Corning Canada NEXT GEN™ QuietZone® and SelectSound® products specified in Section 09 81 16 – Acoustic Blanket Insulation

## BLANKET INSULATION

### Manufacturer: PINK NEXT GEN™ FIBERGLAS®  Blanket insulation manufactured by Owens Corning.

### Glass Fibre Thermal Insulation:

#### To CAN/ULC-S702.1, Type 1, unfaced blanket thermal insulation, GREENGARD Gold certified.

#### Thermal resistance: in accordance with manufacturer's tested performances and to requirements of ASTM C518.

##### [___ / 25 mm thickness] [Required RSI as indicated on the Drawings]

#### Surface burning characteristics to CAN/ULC S102.2:

##### flame spread: 0

##### smoke developed: 0

#### Smoulder resistance: Mass loss <= 0.02%, to ULC S129

#### Non-combustible: to CAN/ULC-S114

#### Formaldehyde-free formulation

#### Fungal resistant according to ASTM C1338

#### Non-corrosive: meets corrosion resistance criteria in ASTM C665

## ACCESSORIES

### Attic (roof-space) baffles: Rigid extruded polystyrene, to prevent blanket thermal insulation from blocking air circulation at the eaves:

#### Manufacturer: «raft-R-mate®» attic vents by Owens Corning.

# Execution

## EXAMINATION

### Examine installation conditions: ensure adjacent and support materials and products are dry and ready to receive the insulation, and that mechanical and electrical services to be covered by the insulation have been inspected.

### Do not commence installation until base work has been corrected and inspections completed.

## PREPARATION

### Protection

SPEC NOTE: Specify protection when glass fibre blanket thermal insulation is applied in an enclosed area.

#### Ensure applicator's personnel wears protection equipment such as breathing masks (dust-proof type masks prescribed in Product Data Sheet), face and eye protection (safety goggles or eye glasses) and skin protection (gloves, long-sleeved shirts and pants).

#### Provide temporary enclosures to prevent dust from contaminating air beyond application area.

#### Protect adjacent surfaces and equipment from damage by fall-out and dust.

## INSTALLATION

### Comply with manufacturer's written data.

### Install insulation to maintain continuity of thermal protection to building elements and spaces.

### Wall, parapets, curbs and partitions: select blanket dimensions for [steel] [wood] stud spacing for friction fit.

### Ceilings and attics: insert insulation blankets between [joists] [cathedral ceiling rafters] and use wire mesh [perforated metal straps] to maintain insulation in place where no interior finish is provided.

### Install attic baffles and ensure no obstacle impedes free air circulation where ventilation is required.

### Carefully fit blanket insulation:

#### In wall cavities: install insulation so that it is in continuous contact with the inside face of the exterior sheathing material.

#### In flat or sloped roof spaces or between cathedral ceiling rafters: provide minimum 2 ½ in. ventilated air space between cold side of insulation and roof deck above.

#### Fit insulation closely around electrical boxes, pipes, ducts, frames and other objects in or passing through insulation.

### Do not compress insulation to fit voids.

SPEC NOTE: Ensure clearances meet local building safety regulations and code requirements. For electrical fixtures housed in a CSA-approved insulated enclosure, prescribed clearances are not required unless indicated otherwise by the fixture's manufacturer.

### Keep insulation minimum 75 mm (3 inches) from heat-emitting devices, such as recessed light fixtures (which are not IC rated), and minimum 50 mm (2 inches) from sidewalls of CAN/ULC S604 chimneys and CSA B149.1 and CSA B149.2 type B and L vents.

### Do not enclose insulation until it has been inspected and approved by [Consultant] [building inspector] [other].

## CLEANING

### Upon completion of installation, remove surplus materials, rubbish, tools and safety barriers. Leave work area ready for application of interior finish.

END OF SECTION

OWENS CORNING CANADA LP

3450 McNicoll Avenue

Scarborough, Ontario  M1V 1Z5

Tel:  1 800 504-8294  Fax: 1 800 504-9698

salvatore.ciarlo@owenscorning.com

The colour PINK is a registered trademark of Owens Corning.  © 2025. Owens Corning. All Rights Reserved.  Publication # 200025I